## Slide 1: Project 2: Thermal Systems Solar House
Drew Pang and Kelly Stellmacher

## Slide 2: Question:
What thickness of insulation in a solar house in Columbus, Ohio during Winter would maintain a minimum internal temperature over time?
Notes: Drew

## Slide 3: Model:
Stock and Flow Diagram:
Schematic:
Equations:
Notes: Kelly

## Slide 4: Results:
Figure 1: Floor
Figure 2: Room
Parameter sweep wall thickness 0.1m-0.5m
0.1m - too cold
0.5m – too hot
0.2m is optimal --- high of ~28 C low of ~12 C
Notes: Drew

## Slide 5: Interpretation
Answer to question:
0.2m wall thickness is optimal for a solar house in Columbus Winter
Applications:
Architecture
Sustainability
Notes: Kelly

## Slide 6: Thank you!